Test ELISA Kit Datasheet

Catalog Number: EK1586

Lot Number: 12345

# Preparations Before Assay

Please read the following instructions before starting the experiment. This section includes both regular paragraphs and numbered instructions.

Before beginning, make sure to thoroughly read the entire protocol.

All reagents should be brought to room temperature (20-25°C) before use.

1. Prepare all reagents, samples, and standards according to the instructions.

2. Confirm that you have the appropriate non-supplied equipment available.

3. Spin down all components to the bottom of the tube before opening.

4. Don't let the 96-well plate dry out as this will inactivate active components.

5. Don't reuse tips and tubes to avoid cross-contamination.

Avoid using reagents from different batches together.

The kit should not be used beyond the expiration date on the kit label.

# Kit Components